AL1+stage

AL3 + Stage

ND

BS2

BS1

CCD

AL4

AL2

P2

P1

LS

M1

M2

5

AL2

AL: Thấu kính phi cầu

ND: ND filter

P: pinhole

M: mirror

Sample

(5 mm)

3

| Thấu kính phi cầu lớn | AL2550M-A: Ø25 mm N-BK7 Mounted Aspheric Lens, f=50 mm, NA=0.23, ARC: 350-700 nm | https://www.thorlabs.com/thorproduct.cfm?partnumber=AL2550M-A | 02 | 242.33 |
| --- | --- | --- | --- | --- |
| Đồ gá cho thấu kính phi cầu lớn | M-FLH-1N-HOX: Ø 1.0" 4-Axis Kinematic Lens Mounts | https://www.opmount.com/Product_detail/374/239.html | 02 | 103.45 |
| Thấu kính phi cầu nhỏ | AL1210M-A: Ø12.5 mm S-LAH64 Mounted Aspheric Lens, f=10 mm, NA=0.55, ARC: 350-700 nm | https://www.thorlabs.com/thorproduct.cfm?partnumber=AL1210M-A | 02 | 302.92 |
| Đồ gá cho thấu kính phi cầu nhỏ | TTMSO-05-series: 3 Adjuster Kinematic Mirror Mounts | https://www.opmount.com/Product_detail/1939/392.html | 02 | 74.14 |
|  |  |  |  | 1445.68 |
| Pinhole: 10-20 micro | 1-10; 1-15; 1-20 | https://www.opmount.com/Product_list3/209.html | 03 | 50 |
| Gá Pinhole | M-APH-1: XY Translator with 100 TPI Drives / Metric | https://www.opmount.com/Product_detail/959/286.html | 02 | 57.75 |
| Stage | XY stage | Nhờ mua cũ | 4 | 50 |
| Trục | M-PDJ8-80 | https://www.opmount.com/Product_detail/1785/361.html | 8 | 11 |
| Gá trục | M-PHF8-60: Post holder | https://www.opmount.com/Product_detail/1788/362.html | 8 | 22 |
| Kẹp | HFPH-1 | https://www.opmount.com/Product_detail/616/175.html | 8 | 11 |
|  |  |  |  | 817.5 |

| ### Specifications - Lens Type Aspheric Objective - Objective Type Plano-Convex Aspheric - Lens Shape Plano-Convex Aspheric - Magnification 60x - Numerical Aperture 0.6 - Diameter 4.0 mm - Antireflection Coating 350-700 nm - Wavelength Range 350-700 nm - Coating Code -A - Lens Material D-ZLaF52La - Effective Focal Length (EFL) 2.80 mm - Center Thickness (Tc) 2.24 mm - Working Distance 1.5 mm - Wavefront Error 0.150 λ - Design Wavelength 830 nm - Holder Length 11.8 mm - Clear Aperture 3.6 mm | Aspheric Objective Lens, 60x, 2.8 mm EFL, 350-700 nm Model: 5721-A-H |  |
| --- | --- | --- |